## config
| Property | Value
0 | BaseMVA | 100
1 | Version | 3
2 | Name | Grid
3 | Comments
4 | program | GridCal

## bus
| name | active | is_slack | Vnom | Vmin | Vmax | r_fault | x_fault | x | y | h | w | area | zone | substation
0 | Bus 1 | True | True | 10.0 | 0.9 | 1.1 | 0 | 0 | -1229.0 | -843.0 | 20.0 | 180.0 | Default | Default | Default
1 | Bus 2 | True | False | 10.0 | 0.9 | 1.1 | 0 | 0 | -1551.0 | -1088.0 | 20.0 | 180.0 | Default | Default | Default
2 | Bus 3 | True | False | 10.0 | 0.9 | 1.1 | 0 | 0 | -924.0 | -991.0 | 20.0 | 180.0 | Default | Default | Default
3 | Bus 4 | True | False | 10.0 | 0.9 | 1.1 | 0 | 0 | -913.0 | -660.0 | 20.0 | 180.0 | Default | Default | Default

## branch
| name | bus_from | bus_to | active | rate | mttf | mttr | R | X | G | B | tolerance | length | tap_module | angle | bus_to_regulated | vset | temp_base | temp_oper | alpha | r_fault | x_fault | fault_pos | branch_type | template
0 | Branch 1 | Bus 3 | Bus 1 | True | 70.0 | 0.0 | 0.0 | 0.05 | 0.11 | 1e-20 | 0.02 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | line | BranchTemplate
1 | Branch 1 | Bus 4 | Bus 3 | True | 25.0 | 0.0 | 0.0 | 0.06 | 0.13 | 1e-20 | 0.03 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | line | BranchTemplate
2 | Branch 1 | Bus 2 | Bus 1 | True | 60.0 | 0.0 | 0.0 | 0.05 | 0.11 | 1e-08 | 0.02 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | line | BranchTemplate
3 | Branch 1 | Bus 2 | Bus 3 | True | 2.0 | 0.0 | 0.0 | 0.04 | 0.09 | 1e-20 | 0.02 | 0 | 1 | 1.0 | 0.0 | False | 1.0 | 20 | 20 | 0.0033 | 0.0 | 0.0 | 0.5 | line | BranchTemplate

## load
| name | bus | active | P | Q | Ir | Ii | G | B | mttf | mttr
0 | Load1@Bus 2 | Bus 2 | True | 40.0 | 20.0 | 0.0 | 0.0 | 0 | 0 | 0.0 | 0.0
1 | Load1@Bus 3 | Bus 3 | True | 25.0 | 15.0 | 0.0 | 0.0 | 0 | 0 | 0.0 | 0.0
2 | Load1@Bus 4 | Bus 4 | True | 40.0 | 20.0 | 0.0 | 0.0 | 0 | 0 | 0.0 | 0.0
3 | Load1@Bus 5 | Bus 4 | True | 50.0 | 20.0 | 0.0 | 0.0 | 0 | 0 | 0.0 | 0.0

## static_generator
name | bus | active | P | Q | mttf | mttr

## battery
name | bus | active | is_controlled | P | Pf | Vset | Snom | Enom | max_soc | min_soc | soc_0 | charge_efficiency | discharge_efficiency | discharge_per_cycle | Qmin | Qmax | Pmin | Pmax | Cost | enabled_dispatch | mttf | mttr

## generator
| name | bus | active | is_controlled | P | Pf | Vset | Snom | Qmin | Qmax | Pmin | Pmax | Cost | enabled_dispatch | mttf | mttr
0 | gen1@Bus 1 | Bus 1 | True | True | 0.0 | 0.8 | 1.0 | 9999.0 | -9999.0 | 9999.0 | 0.0 | 9999.0 | 1.0 | True | 0.0 | 0.0

## shunt
name | bus | active | G | B | mttf | mttr

## wires
wire_name | r | x | gmr | max_current | xpos | ypos | phase

## overhead_line_types
tower_name | earth_resistivity | frequency | R1 | X1 | Gsh1 | Bsh1 | R0 | X0 | Gsh0 | Bsh0 | rating | wire_name | xpos | ypos | phase | r | x | gmr

## underground_cable_types
name | rating | R | X | G | B | R0 | X0 | G0 | B0

## sequence_line_types
name | rating | R | X | G | B | R0 | X0 | G0 | B0

## transformer_types
name | HV | LV | rating | Pcu | Pfe | I0 | Vsc