## config
| Property | Value
0 | BaseMVA | 100.0
1 | Version | 5
2 | Name | fubm_caseHVDC_vt
3 | Comments | Converted from the FUNB matpower case fubm_caseHVDC_vt.m
4 | ModelVersion | 13
5 | UserName | 161721305165721:santi
6 | program | GridCal

## modelling_authority
idtag | name | code | action | comment

## area
| idtag | name | code | action | comment | longitude | latitude | color
0 | 99862994483846bc925773c9d027a681 | Default |  | No action |  | 0.0 | 0.0 | #375b3d

## zone
| idtag | name | code | action | comment | longitude | latitude | color | area
0 | 987f3b96e9a64d47beeeeb55a0a3e4eb | Default |  | No action |  | 0 | 0 | #166080

## country
| idtag | name | code | action | comment | longitude | latitude | color
0 | 5e8ab213227649168d3b44459d9f7cfd | Default |  | No action |  | 0.0 | 0.0 | #4d577b

## community
idtag | name | code | action | comment | longitude | latitude | color | country

## region
idtag | name | code | action | comment | longitude | latitude | color | community

## municipality
idtag | name | code | action | comment | longitude | latitude | color | region

## substation
| idtag | name | code | action | comment | longitude | latitude | color | area | zone | country | community | region | municipality | modelling_authority | address | irradiation | temperature | wind_speed | terrain_roughness
0 | 4cacb4942d1f495996091179233eb8d7 | Default |  | No action |  | 0 | 0 | #3d7d95 | [8 empty] | 0 | 0 | 0 | 0.2

## voltage_level
idtag | name | code | action | comment | modelling_authority | Vnom | substation

## technology
| idtag | name | code | action | comment | name2 | name3 | name4 | color
0 | 8ac79d107e774854a5b87faa401e015e | Combined cycle |  | No action |  |  |  |  | #0d2356

## fuel
idtag | name | code | action | comment | cost | color

## emission
idtag | name | code | action | comment | cost | color

## facility
idtag | name | code | action | comment | longitude | latitude | color

## bus
| idtag | name | code | action | comment | modelling_authority | active | is_slack | is_dc | internal | Vnom | Vm0 | Va0 | Vmin | Vmax | Vm_cost | angle_min | angle_max | angle_cost | r_fault | x_fault | x | y | h | w | country | area | zone | substation | voltage_level | longitude | latitude | ph_a | ph_b | ph_c | ph_n | is_grounded
0 | 751bd946756c4c5481591f298232a9ed | bus 1 |  | No action |  |  | TRUE | TRUE | FALSE | FALSE | 135 | 1 | 0 | 0.9 | 1.1 | 1 | -6.28 | 6.28 | 0 | 0 | 0 | -3918 | -1614 | 20 | 180 | [5 empty] | 0 | 0 | TRUE | TRUE | TRUE | TRUE | TRUE
1 | c24f61dd23f74564aed1bc0daf3b3cc5 | bus 2 |  | No action |  |  | TRUE | FALSE | FALSE | FALSE | 135 | 1 | 0 | 0.9 | 1.1 | 1 | -6.28 | 6.28 | 0 | 0 | 0 | -3526 | -1614 | 20 | 180 | [5 empty] | 0 | 0 | TRUE | TRUE | TRUE | TRUE | TRUE
2 | 55a6e3f450004c0f938d4e0ae265c7b1 | bus 3 |  | No action |  |  | TRUE | FALSE | TRUE | FALSE | 200 | 1 | 0 | 0.9 | 1.1 | 1 | -6.28 | 6.28 | 0 | 0 | 0 | -3365 | -1983 | 20 | 180 | [5 empty] | 0 | 0 | TRUE | TRUE | TRUE | TRUE | TRUE
3 | e8c402874b0048d98562e5a6e14169d4 | bus 4 |  | No action |  |  | TRUE | FALSE | TRUE | FALSE | 200 | 1 | 0 | 0.9 | 1.1 | 1 | -6.28 | 6.28 | 0 | 0 | 0 | -2895 | -1984 | 20 | 180 | [5 empty] | 0 | 0 | TRUE | TRUE | TRUE | TRUE | TRUE
4 | 91e40f9984d94c1cba0db8ad6bc36b0e | bus 5 |  | No action |  |  | TRUE | FALSE | FALSE | FALSE | 135 | 1 | 0 | 0.9 | 1.1 | 1 | -6.28 | 6.28 | 0 | 0 | 0 | -2718 | -1618 | 20 | 180 | [5 empty] | 0 | 0 | TRUE | TRUE | TRUE | TRUE | TRUE
5 | 23ce844ed937439b8e5ec7e1a2701a48 | bus 6 |  | No action |  |  | TRUE | FALSE | FALSE | FALSE | 135 | 1 | 0 | 0.9 | 1.1 | 1 | -6.28 | 6.28 | 0 | 0 | 0 | -2238.515 | -1612 | 20 | 180 | [5 empty] | 0 | 0 | TRUE | TRUE | TRUE | TRUE | TRUE

## bus_bar
idtag | name | code | action | comment | modelling_authority | voltage_level | cn

## connectivity node
idtag | name | code | action | comment | modelling_authority | Vnom | dc | internal | bus | voltage_level

## load
| idtag | name | code | action | comment | modelling_authority | bus | cn | active | mttf | mttr | capex | opex | build_status | Cost | facility | technologies | scalable | use_kw | P | Q | Ir | Ii | G | B
0 | cdd6d016082d44b98ddfa740c36b5b2a | Load |  | No action |  |  | c24f61dd23f74564aed1bc0daf3b3cc5 |  | TRUE | 0 | 0 | 0 | 0 | Commissioned | 0 |  | {} | TRUE | FALSE | 3 | 0.3 | 0 | 0 | 0 | 0
1 | 6af1935e67b84fa39e675d3ae29bd378 | Load |  | No action |  |  | 91e40f9984d94c1cba0db8ad6bc36b0e |  | TRUE | 0 | 0 | 0 | 0 | Commissioned | 0 |  | {} | TRUE | FALSE | 2 | 0.5 | 0 | 0 | 0 | 0

## static_generator
idtag | name | code | action | comment | modelling_authority | bus | cn | active | mttf | mttr | capex | opex | build_status | Cost | facility | technologies | scalable | use_kw | P | Q

## battery
idtag | name | code | action | comment | modelling_authority | bus | cn | active | mttf | mttr | capex | opex | build_status | Cost | facility | technologies | scalable | use_kw | control_bus | control_cn | P | Pmin | Pmax | srap_enabled | is_controlled | Pf | Vset | Snom | Qmin | Qmax | use_reactive_power_curve | q_curve | R1 | X1 | R0 | X0 | R2 | X2 | Cost2 | Cost0 | StartupCost | ShutdownCost | MinTimeUp | MinTimeDown | RampUp | RampDown | enabled_dispatch | emissions | fuels | Enom | max_soc | min_soc | soc_0 | charge_efficiency | discharge_efficiency | discharge_per_cycle

## generator
| idtag | name | code | action | comment | modelling_authority | bus | cn | active | mttf | mttr | capex | opex | build_status | Cost | facility | technologies | scalable | use_kw | control_bus | control_cn | P | Pmin | Pmax | srap_enabled | is_controlled | Pf | Vset | Snom | Qmin | Qmax | use_reactive_power_curve | q_curve | R1 | X1 | R0 | X0 | R2 | X2 | Cost2 | Cost0 | StartupCost | ShutdownCost | MinTimeUp | MinTimeDown | RampUp | RampDown | enabled_dispatch | emissions | fuels
0 | bece55a4bc0347458a1980c149c4e6c6 | gen 0 |  | No action |  |  | 751bd946756c4c5481591f298232a9ed |  | TRUE | 0 | 0 | 0 | 0 | Commissioned | 1 |  | {'8ac79d107e774854a5b87faa401e015e': <GridCalEngine.Devices.Associations.association.Association object at 0x0000028EC2C57890>} | TRUE | FALSE |  |  | 1 | 0 | 9999 | TRUE | TRUE | 0.8 | 1.01 | 9999 | -2 | 2 | FALSE | [[0.0, -9999.0, 9999.0]] | 1e-20 | 1e-20 | 1e-20 | 1e-20 | 1e-20 | 1e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 1e+20 | 1e+20 | TRUE | {} | {}
1 | 9b67555968204e149d303067dadd2f15 | gen 1 |  | No action |  |  | 23ce844ed937439b8e5ec7e1a2701a48 |  | TRUE | 0 | 0 | 0 | 0 | Commissioned | 1 |  | {'8ac79d107e774854a5b87faa401e015e': <GridCalEngine.Devices.Associations.association.Association object at 0x0000028EBF069CD0>} | TRUE | FALSE |  |  | 1 | 0 | 9999 | TRUE | TRUE | 0.8 | 1.02 | 9999 | -2 | 2 | FALSE | [[0.0, -9999.0, 9999.0]] | 1e-20 | 1e-20 | 1e-20 | 1e-20 | 1e-20 | 1e-20 | 0 | 0 | 0 | 0 | 0 | 0 | 1e+20 | 1e+20 | TRUE | {} | {}

## shunt
idtag | name | code | action | comment | modelling_authority | bus | cn | active | mttf | mttr | capex | opex | build_status | Cost | facility | technologies | scalable | use_kw | G | B | G0 | B0

## linear_shunt
idtag | name | code | action | comment | modelling_authority | bus | cn | active | mttf | mttr | capex | opex | build_status | Cost | facility | technologies | scalable | use_kw | G | B | G0 | B0 | is_nonlinear | g_steps | b_steps | Gmax | Gmin | Bmax | Bmin | active_steps | step | Vset

## external_grid
idtag | name | code | action | comment | modelling_authority | bus | cn | active | mttf | mttr | capex | opex | build_status | Cost | facility | technologies | scalable | use_kw | P | Q | mode | substituted_device_id | Vm | Va

## current_injection
idtag | name | code | action | comment | modelling_authority | bus | cn | active | mttf | mttr | capex | opex | build_status | Cost | facility | technologies | scalable | use_kw | Ir | Ii

## wires
idtag | name | code | action | comment | R | X | GMR | max_current | stranding | material | diameter

## overhead_line_types
idtag | name | code | action | comment | earth_resistivity | frequency | Imax | Vnom | wires_in_tower

## underground_cable_types
idtag | name | code | action | comment | Imax | Vnom | R | X | B | R0 | X0 | B0

## sequence_line_types
idtag | name | code | action | comment | Imax | Vnom | R | X | B | R0 | X0 | B0 | Cnf | Cnf0 | use_conductance

## transformer_types
idtag | name | code | action | comment | HV | LV | Sn | Pcu | Pfe | I0 | Vsc | tc_type | total_positions | dV | neutral_position | asymmetry_angle | tap_module_min | tap_module_max | tap_phase_min | tap_phase_max

## branch_group
idtag | name | code | action | comment | group_type

## transformer2w
idtag | name | code | action | comment | modelling_authority | bus_from | bus_to | cn_from | cn_to | active | reducible | rate | contingency_factor | protection_rating_factor | monitor_loading | mttf | mttr | Cost | build_status | capex | opex | group | ys | ysh | color | R | X | G | B | R0 | X0 | G0 | B0 | R2 | X2 | G2 | B2 | tolerance | tap_changer | tap_module | tap_module_max | tap_module_min | tap_module_control_mode | vset | Qset | regulation_bus | regulation_cn | tap_phase | tap_phase_max | tap_phase_min | tap_phase_control_mode | Pset | temp_base | temp_oper | alpha | HV | LV | Sn | Pcu | Pfe | I0 | Vsc | conn | template | possible_transformer_types

## windings
idtag | name | code | action | comment | modelling_authority | bus_from | bus_to | cn_from | cn_to | active | reducible | rate | contingency_factor | protection_rating_factor | monitor_loading | mttf | mttr | Cost | build_status | capex | opex | group | ys | ysh | color | R | X | G | B | R0 | X0 | G0 | B0 | R2 | X2 | G2 | B2 | tolerance | tap_changer | tap_module | tap_module_max | tap_module_min | tap_module_control_mode | vset | Qset | regulation_bus | regulation_cn | tap_phase | tap_phase_max | tap_phase_min | tap_phase_control_mode | Pset | temp_base | temp_oper | alpha | HV | LV | Sn | Pcu | Pfe | I0 | Vsc | conn | template | possible_transformer_types

## transformer3w
idtag | name | code | action | comment | modelling_authority | bus0 | bus1 | bus2 | bus3 | cn0 | cn1 | cn2 | cn3 | active | winding1 | winding2 | winding3 | V1 | V2 | V3 | r12 | r23 | r31 | x12 | x23 | x31 | rate1 | rate2 | rate3 | Pcu12 | Pcu23 | Pcu31 | Vsc12 | Vsc23 | Vsc31 | Pfe | I0 | x | y

## line
| idtag | name | code | action | comment | modelling_authority | bus_from | bus_to | cn_from | cn_to | active | reducible | rate | contingency_factor | protection_rating_factor | monitor_loading | mttf | mttr | Cost | build_status | capex | opex | group | ys | ysh | color | R | X | B | R0 | X0 | B0 | R2 | X2 | B2 | tolerance | circuit_idx | length | temp_base | temp_oper | alpha | r_fault | x_fault | fault_pos | template | locations | possible_tower_types | possible_underground_line_types | possible_sequence_line_types
0 | db68f785719a4436ac2d4abe94486445 | branch 0 |  | No action |  |  | 751bd946756c4c5481591f298232a9ed | c24f61dd23f74564aed1bc0daf3b3cc5 |  |  | True | False | 100.0 | 1.0 | 1.4 | True | 0.0 | 0.0 | 0.0 | Commissioned | 0 | 0 |  | <GridCalEngine.Devices.admittance_matrix.AdmittanceMatrix object at 0x0000028EBF068A40> | <GridCalEngine.Devices.admittance_matrix.AdmittanceMatrix object at 0x0000028EBF069DC0> | #909090 | 0.001 | 0.1 | 0.0 | 1e-20 | 1e-20 | 1e-20 | 1e-20 | 1e-20 | 1e-20 | 0.0 | 0 | 1.0 | 20.0 | 20.0 | 0.0033 | 0.0 | 0.0 | 0.5 |  | afa213725a0e49ef96fc6975da65afe5 | {} | {} | {}
1 | 1995ac15f1254d048c4220123ee888a3 | branch 1 |  | No action |  |  | c24f61dd23f74564aed1bc0daf3b3cc5 | 91e40f9984d94c1cba0db8ad6bc36b0e |  |  | True | False | 100.0 | 1.0 | 1.4 | True | 0.0 | 0.0 | 0.0 | Commissioned | 0 | 0 |  | <GridCalEngine.Devices.admittance_matrix.AdmittanceMatrix object at 0x0000028EC35D3230> | <GridCalEngine.Devices.admittance_matrix.AdmittanceMatrix object at 0x0000028EC35D0E90> | #909090 | 1.05 | 0.5 | 0.0 | 1e-20 | 1e-20 | 1e-20 | 1e-20 | 1e-20 | 1e-20 | 0.0 | 0 | 1.0 | 20.0 | 20.0 | 0.0033 | 0.0 | 0.0 | 0.5 |  | f54df7996bf54fba9e91b7fc70fab1b7 | {} | {} | {}
2 | 422b6fa352954517b44f5d10cda3aa95 | branch 5 |  | No action |  |  | 23ce844ed937439b8e5ec7e1a2701a48 | 91e40f9984d94c1cba0db8ad6bc36b0e |  |  | True | False | 100.0 | 1.0 | 1.4 | True | 0.0 | 0.0 | 0.0 | Commissioned | 0 | 0 |  | <GridCalEngine.Devices.admittance_matrix.AdmittanceMatrix object at 0x0000028EC3250AD0> | <GridCalEngine.Devices.admittance_matrix.AdmittanceMatrix object at 0x0000028EC3253650> | #909090 | 0.001 | 0.1 | 0.0 | 1e-20 | 1e-20 | 1e-20 | 1e-20 | 1e-20 | 1e-20 | 0.0 | 0 | 1.0 | 20.0 | 20.0 | 0.0033 | 0.0 | 0.0 | 0.5 |  | 1d0636487a8545748da0fd9bc12099db | {} | {} | {}

## dc_line
| idtag | name | code | action | comment | modelling_authority | bus_from | bus_to | cn_from | cn_to | active | reducible | rate | contingency_factor | protection_rating_factor | monitor_loading | mttf | mttr | Cost | build_status | capex | opex | group | ys | ysh | color | R | length | r_fault | fault_pos | template | locations
0 | 751bef42483b46fe93c73cb4b3f6e4b5 | DC Line |  | No action |  |  | 55a6e3f450004c0f938d4e0ae265c7b1 | e8c402874b0048d98562e5a6e14169d4 |  |  | True | False | 100.0 | 1.0 | 1.4 | True | 0.0 | 0.0 | 0.0 | Commissioned | 0 | 0 |  | <GridCalEngine.Devices.admittance_matrix.AdmittanceMatrix object at 0x0000028EC2C06AE0> | <GridCalEngine.Devices.admittance_matrix.AdmittanceMatrix object at 0x0000028EC2C05E50> | #909090 | 2.05 | 1.0 | 0.0 | 0.5 |  | f96c0c704072405eb2edf66c088acbaf

## hvdc
idtag | name | code | action | comment | modelling_authority | bus_from | bus_to | cn_from | cn_to | active | reducible | rate | contingency_factor | protection_rating_factor | monitor_loading | mttf | mttr | Cost | build_status | capex | opex | group | ys | ysh | color | dispatchable | control_mode | Pset | r | dc_link_voltage | angle_droop | Vset_f | Vset_t | min_firing_angle_f | max_firing_angle_f | min_firing_angle_t | max_firing_angle_t | length | locations

## vsc
| idtag | name | code | action | comment | modelling_authority | bus_from | bus_to | cn_from | cn_to | active | reducible | rate | contingency_factor | protection_rating_factor | monitor_loading | mttf | mttr | Cost | build_status | capex | opex | group | ys | ysh | color | alpha1 | alpha2 | alpha3 | kdp | control1 | control2 | control1_val | control2_val | control1_dev | control2_dev
0 | 0b757c86fb8b4e33b95a88f35ce46c1c | VSC1 |  | No action |  |  | 55a6e3f450004c0f938d4e0ae265c7b1 | c24f61dd23f74564aed1bc0daf3b3cc5 |  |  | TRUE | FALSE | 100 | 1 | 1.4 | TRUE | 0 | 0 | 1200 | Commissioned | 0 | 0 |  | <GridCalEngine.Devices.admittance_matrix.AdmittanceMatrix object at 0x0000028EC2C04AD0> | <GridCalEngine.Devices.admittance_matrix.AdmittanceMatrix object at 0x0000028EC2C06270> | #909090 | 0.0001 | 0.015 | 0.2 | 0 | Vm_dc | P_ac | 1 | 0
1 | 49c8da5a948247efaaec5d3a7d962e44 | VSC2 |  | No action |  |  | e8c402874b0048d98562e5a6e14169d4 | 91e40f9984d94c1cba0db8ad6bc36b0e |  |  | TRUE | FALSE | 100 | 1 | 1.4 | TRUE | 0 | 0 | 1200 | Commissioned | 0 | 0 |  | <GridCalEngine.Devices.admittance_matrix.AdmittanceMatrix object at 0x0000028EC2C07DA0> | <GridCalEngine.Devices.admittance_matrix.AdmittanceMatrix object at 0x0000028EC2C05250> | #909090 | 0.0001 | 0.015 | 0.02 | 0 | Vm_dc | P_ac | 1 | 0

## upfc
idtag | name | code | action | comment | modelling_authority | bus_from | bus_to | cn_from | cn_to | active | reducible | rate | contingency_factor | protection_rating_factor | monitor_loading | mttf | mttr | Cost | build_status | capex | opex | group | ys | ysh | color | R | X | Rsh | Xsh | R0 | X0 | Rsh0 | Xsh0 | R2 | X2 | Rsh2 | Xsh2 | Vsh | Pfset | Qfset

## series_reactance
idtag | name | code | action | comment | modelling_authority | bus_from | bus_to | cn_from | cn_to | active | reducible | rate | contingency_factor | protection_rating_factor | monitor_loading | mttf | mttr | Cost | build_status | capex | opex | group | ys | ysh | color | R | X | R0 | X0 | R2 | X2 | tolerance | temp_base | temp_oper | alpha | r_fault | x_fault | fault_pos

## switch
idtag | name | code | action | comment | modelling_authority | bus_from | bus_to | cn_from | cn_to | active | reducible | rate | contingency_factor | protection_rating_factor | monitor_loading | mttf | mttr | Cost | build_status | capex | opex | group | ys | ysh | color | R | X | retained | normal_open | rated_current

## contingency_group
idtag | name | code | action | comment | category

## contingency
idtag | name | code | action | comment | device_idtag | prop | value | group

## remedial_action_group
idtag | name | code | action | comment | category | conn_group

## remedial_action
idtag | name | code | action | comment | device_idtag | prop | value | group

## investments_group
idtag | name | code | action | comment | category

## investment
idtag | name | code | action | comment | device_idtag | CAPEX | OPEX | status | group

## fluid_node
idtag | name | code | action | comment | modelling_authority | min_level | max_level | min_soc | max_soc | initial_level | bus | build_status | spillage_cost | inflow | color

## fluid_path
idtag | name | code | action | comment | modelling_authority | source | target | min_flow | max_flow | locations | color

## fluid_turbine
idtag | name | code | action | comment | modelling_authority | active | efficiency | max_flow_rate | plant | generator | build_status | facility

## fluid_pump
idtag | name | code | action | comment | modelling_authority | active | efficiency | max_flow_rate | plant | generator | build_status | facility

## fluid_p2x
idtag | name | code | action | comment | modelling_authority | active | efficiency | max_flow_rate | plant | generator | build_status | facility

## tower_wires
tower_name | wire_name | xpos | ypos | phase